|  | Compliance Inspection Form Existing Subsurface Sewage Treatment Systems (SSTS) Doc Type: Compliance and Enforcement |
| --- | --- |

| Inspection results based on Minnesota Pollution Control Agency (MPCA) requirements and attached forms – additional local requirements may also apply. | For local tracking purposes: |
| --- | --- |
| Submit completed form to Local Unit of Government (LUG) and system owner within 15 days |  |

System Status

| System status on date (mm/dd/yyyy): |  |  |
| --- | --- | --- |

| ## Compliant – Certificate of Compliance |  | ## Noncompliant – Notice of Noncompliance |
| --- | --- | --- |
| (Valid for 3 years from report date, unless shorter time frame outlined in Local Ordinance.) | (See Upgrade Requirements on page 3.) |

Reason(s) for noncompliance (check all applicable)

Impact on Public Health (Compliance Component #1) – Imminent threat to public health and safety

Other Compliance Conditions (Compliance Component #3) – Imminent threat to public health and safety

Tank Integrity (Compliance Component #2) – Failing to protect groundwater

Other Compliance Conditions (Compliance Component #3) – Failing to protect groundwater

Soil Separation (Compliance Component #4) – Failing to protect groundwater

Operating permit/monitoring plan requirements (Compliance Component #5) – Noncompliant

| Property Information |  |  | Parcel ID# or Sec/Twp/Range: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Property address: |  |  |  | Reason for inspection: |  |  |  |
| Property owner: |  |  |  | Owner’s phone: |  |  |  |

or

| Owner’s representative: |  |  |  | Representative phone: |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local regulatory authority: |  |  |  | Regulatory authority phone: |  |  |
| Brief system description: |  |  |  |  |  |  |
| Comments or recommendations: |  |  |  |  |  |  |

## Certification

| I hereby certify that all the necessary information has been gathered to determine the compliance status of this system. No determination of future system performance has been nor can be made due to unknown conditions during system construction, possible abuse of the system, inadequate maintenance, or future water usage. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inspector name: |  |  | Certification number: |  |
| Business name: |  |  | License number: |  |
| Inspector signature: |  |  | Phone number: |  |

## Necessary or Locally Required Attachments

| Soil boring logs System/As-built drawing Forms per local ordinance |  |
| --- | --- |
| Other information (list): |  |

| Property address: |  | Inspector initials/Date: | ¦ |
| --- | --- | --- | --- |
|  |  |  | (mm/dd/yyyy) |
| - Impact on Public Health – Compliance component #1 of 5 |  |  |  |

| Compliance criteria: |  |  | Verification method(s): |
| --- | --- | --- | --- |
| System discharges sewage to the ground surface. | Yes No |  | Searched for surface outlet Searched for seeping in yard/backup in home Excessive ponding in soil system/D-boxes Homeowner testimony (See Comments/Explanation) “Black soil” above soil dispersal system System requires “emergency” pumping Performed dye test Unable to verify (See Comments/Explanation) Other methods not listed (See Comments/Explanation) |
| System discharges sewage to drain tile or surface waters. | Yes No |  |  |
| System causes sewage backup into dwelling or establishment. | Yes No |  |  |
| Any “yes” answer above indicates the system is an imminent threat to public health and safety. |  |  |  |
| Comments/Explanation: |  |  |  |

| - Tank Integrity – Compliance component #2 of 5 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Compliance criteria: |  |  | Verification method(s): |
| System consists of a seepage pit, cesspool, drywell, or leaching pit. Seepage pits meeting 7080.2550 may be compliant if allowed in local ordinance. | Yes No |  | Probed tank(s) bottom Examined construction records Examined Tank Integrity Form (Attach) Observed liquid level below operating depth Examined empty (pumped) tanks(s) Probed outside tank(s) for “black soil” Unable to verify (See Comments/Explanation) Other methods not listed (See Comments/Explanation) |
| Sewage tank(s) leak below their designed operating depth. | Yes No |  |  |
| If yes, which sewage tank(s) leaks: |  |  |  |
| Any “yes” answer above indicates the system is failing to protect groundwater. |  |  |  |
| Comments/Explanation: |  |  |  |

| - Other Compliance Conditions – Compliance component #3 of 5 |  |  |
| --- | --- | --- |
| a. | Maintenance hole covers are damaged, cracked, unsecured, or appear to be structurally unsound. Yes* No Unknown |
| b. | Other issues (electrical hazards, etc.) to immediately and adversely impact public health or safety. Yes* No Unknown *System is an imminent threat to public health and safety. |
|  | Explain: |
| c. | System is non-protective of ground water for other conditions as determined by inspector . Yes* No *System is failing to protect groundwater. |
|  | Explain: |

| Property address: |  |  |  |  |  |  | Inspector initials/Date: | ¦ |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | (mm/dd/yyyy) |  |
| - Soil Separation – Compliance component #4 of 5 |  |  |  |  |  |  |  |  |  |
| Date of installation: |  |  | Unknown |  | Verification method(s): Soil observation does not expire. Previous soil observations by two independent parties are sufficient, unless site conditions have been altered or local requirements differ. Conducted soil observation(s) (Attach boring logs) Two previous verifications (Attach boring logs) Not applicable (Holding tank(s), no drainfield) Unable to verify (See Comments/Explanation) Other (See Comments/Explanation) |  |  |  |
|  |  | (mm/dd/yyyy) |  |  |  |  |  |  |
| Shoreland/Wellhead protection/Food beverage lodging? |  |  | Yes No |  |  |  |  |  |
| Compliance criteria: |  |  |  |  |  |  |  |  |
| For systems built prior to April 1, 1996, and not located in Shoreland or Wellhead Protection Area or not serving a food, beverage or lodging establishment: Drainfield has at least a two-foot vertical separation distance from periodically saturated soil or bedrock. |  |  | Yes No |  |  |  |  |  |
| Non-performance systems built April 1, 1996, or later or for non-performance systems located in Shoreland or Wellhead Protection Areas or serving a food, beverage, or lodging establishment: Drainfield has a three-foot vertical separation distance from periodically saturated soil or bedrock.* |  |  | Yes No |  | Comments/Explanation: |  |  |  |
| “Experimental”, “Other”, or “Performance” systems built under pre-2008 Rules; Type IV or V systems built under 2008 Rules (7080. 2350 or 7080.2400 (Advanced Inspector License required) Drainfield meets the designed vertical separation distance from periodically saturated soil or bedrock. |  |  | Yes No |  | Indicate depths or elevations |  |  |  |
|  |  |  |  |  | - Bottom of distribution media |  |  |  |
|  |  |  |  |  | - Periodically saturated soil/bedrock |  |  |  |
|  |  |  |  |  | - System separation |  |  |  |
|  |  |  |  |  | - Required compliance separation* |  |  |  |
| Any “no” answer above indicates the system is failing to protect groundwater. |  |  |  |  | *May be reduced up to 15 percent if allowed by Local Ordinance. |  |  |  |

- Operating Permit and Nitrogen BMP* – Compliance component #5 of 5 Not applicable

Is the system operated under an Operating Permit?	 Yes    No	If “yes”, A below is required

Is the system required to employ a Nitrogen BMP?	 Yes    No	If “yes”, B below is required

BMP = Best Management Practice(s) specified in the system design

If the answer to both questions is “no”, this section does not need to be completed.

Compliance criteria

| - Operating Permit number: |  |  | Yes No |
| --- | --- | --- | --- |
| Have the Operating Permit requirements been met? |  |  |  |
| - Is the required nitrogen BMP in place and properly functioning? |  |  | Yes No |

Any “no” answer indicates Noncompliance.

Upgrade Requirements (Minn. Stat. § 115.55) An imminent threat to public health and safety (ITPHS) must be upgraded, replaced, or its use discontinued within ten months of receipt of this notice or within a shorter period if required by local ordinance. If the system is failing to protect ground water, the system must be upgraded, replaced, or its use discontinued within the time required by local ordinance. If an existing system is not failing as defined in law, and has at least two feet of design soil separation, then the system need not be upgraded, repaired, replaced, or its use discontinued, notwithstanding any local ordinance that is more strict. This provision does not apply to systems in shoreland areas, Wellhead Protection Areas, or those used in connection with food, beverage, and lodging establishments as defined in law.